## Sheet1
|  | Reach Comparison | 2010-07-14
Turlough Hill / Dunstown
TH / Duns
7sa5xx | FALSE
7SA6/7SD5 | TRUE
REL521 | FALSE
GRZ | TRUE
R1Z23 | FALSE
Source spreadsheets must be in 'C:\Calcls' folder and have default names as shown for the check boxes above
Zones must be enabled on source spreadsheet graphic to be displayed here
Note on S1: 14/07/10: Links to 7SA5 re-established Links added for 7SA6-7SD5 and GRZ100

## Sheet2
7SA5xx |  |  |  | REL5x1 |  |  |  |  | 7SA5xx | 0 |  |  | REL5x1 | 0 |  | 7SA6-7SD5 Data |  |  |  | GRZ100 Data |  |  |  | 7SA6-7SD5 Plots |  |  | 1 | GRZ100 Plots |  |  | 1
Ph-Ph Plot Data |  | Ph-E Plot Data | [6 empty] | K Factor | 1 | [5 empty] | Ph-Ph Plot Data |  | Ph-E Plot Data |  | Ph-Ph Plot Data |  | Ph-E Plot Data
R | X | R | X | [12 empty] | R | X | R | X | R | X | R | X
30 | 0 | 58.8772 | 0 | 41.2858 | -9.5316 | 74.4734 | -17.1935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5716 | -6.3757 | 59.7306 | -14.8925 | 24.1789 | -11.2748 | 58.5806 | -27.3166 | 25.5716 | -6.3757 | 59.7306 | -14.8925 | 24.1789 | -11.2748 | 58.5806 | -27.3166
30 | 30 | 58.8772 | 15.7761 | 41.2858 | -9.5316 | 74.4734 | -17.1935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5716 | -6.3757 | 72.7657 | -14.8925 | 25.6748 | -5.692 | 62.2049 | -13.7905 | 25.5716 | -6.3757 | 72.7657 | -14.8925 | 25.6748 | -5.692 | 62.2049 | -13.7905
40.36 | 40.36 | 58.8772 | 33.9928 | 45.45 | 0 | 79.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.28 | 0 | 76.7561 | 0 | 27.2 | 0 | 65.9 | 0 | 27.28 | 0 | 76.7561 | 0 | 27.2 | 0 | 65.9 | 0
40.36 | 61.4399 | 58.8772 | 57.7535 | 51.4033 | 13.6267 | 83.3379 | 12.8289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.418 | 4.2471 | 78.2217 | 5.4698 | 28.6398 | 5.3733 | 67.4819 | 5.9039 | 28.418 | 4.2471 | 78.2217 | 5.4698 | 28.6398 | 5.3733 | 67.4819 | 5.9039
40.3601 | 61.44 | 58.8772 | 57.7536 | 57.3567 | 27.2533 | 87.1258 | 25.6578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.7142 | 9.0845 | 79.7597 | 11.2095 | 30.0796 | 10.7467 | 69.168 | 12.1962 | 29.7142 | 9.0845 | 79.7597 | 11.2095 | 30.0796 | 10.7467 | 69.168 | 12.1962
3.7637e-15 | 61.44 | 3.5378e-15 | 57.7536 | 63.31 | 40.88 | 90.9137 | 38.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.5843 | 16.0638 | 80.7376 | 14.859 | 31.5193 | 16.12 | 70.0516 | 15.4941 | 31.5843 | 16.0638 | 80.7376 | 14.859 | 31.5193 | 16.12 | 70.0516 | 15.4941
-40.3601 | 61.44 | -58.8772 | 57.7536 | 31.655 | 40.88 | 45.4569 | 38.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.3654 | 16.1 | 70.0637 | 14.8925 | 21.0129 | 16.12 | 46.7011 | 15.5289 | 21.3654 | 16.1 | 70.0637 | 14.8925 | 21.0129 | 16.12 | 46.7011 | 15.5289
-40.36 | 61.4399 | -58.8772 | 57.7535 | 2.5042e-15 | 40.88 | 2.3576e-15 | 38.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.0272 | 16.1 | 12.0597 | 14.8925 | 10.5064 | 16.12 | 23.3505 | 15.5289 | 8.0272 | 16.1 | 12.0597 | 14.8925 | 10.5064 | 16.12 | 23.3505 | 15.5289
-40.36 | 40.36 | -58.8772 | 33.9928 | 2.5042e-15 | 40.88 | 2.3576e-15 | 38.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8624e-16 | 16.1 | 9.1228e-16 | 14.8925 | 9.8747e-16 | 16.12 | 9.5126e-16 | 15.5289 | 9.8624e-16 | 16.1 | 9.1228e-16 | 14.8925 | 9.8747e-16 | 16.12 | 9.5126e-16 | 15.5289
-30 | 30 | -58.8772 | 15.7761 | -19.0627 | 40.88 | -17.9466 | 38.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8624e-16 | 16.1 | 9.1228e-16 | 14.8925 | -3.5737 | 16.12 | -3.4427 | 15.5289 | 9.8624e-16 | 16.1 | 9.1228e-16 | 14.8925 | -3.5737 | 16.12 | -3.4427 | 15.5289
-30 | 0 | -58.8772 | 0 | 51.6118 | -11.9155 | 96.1867 | -22.2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5048 | 16.1 | -5.4204 | 14.8925 | -7.5169 | 16.12 | -7.2413 | 15.5289 | -6.5048 | 16.1 | -5.4204 | 14.8925 | -7.5169 | 16.12 | -7.2413 | 15.5289
-30 | 0 | -58.8772 | -10.3816 | 51.6118 | -11.9155 | 96.1867 | -22.2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.6131 | -10.6246 | 112.4864 | -28.046 | 0 | 0 | 0 | 0 | 31.9645 | -7.9697 | 90.2265 | -22.496 | 0 | 0 | 0 | 0
-30 | -34.78 | -58.8772 | -20.273 | 56.82 | 0 | 102.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.6131 | -10.6246 | 146.0166 | -28.046 | 0 | 0 | 0 | 0 | 31.9645 | -7.9697 | 114.5972 | -22.496 | 0 | 0 | 0 | 0
-6.3916e-15 | -34.78 | -58.8772 | -32.6926 | 64.1067 | 16.6733 | 106.5697 | 15.6956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45.46 | 0 | 153.5315 | 0 | 0 | 0 | 0 | 0 | 34.1 | 0 | 120.625 | 0 | 0 | 0 | 0 | 0
-6.3916e-15 | -34.78 | -58.8783 | -32.6932 | 71.3933 | 33.3467 | 110.8694 | 31.3911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.7143 | 8.4133 | 156.4631 | 10.941 | 0 | 0 | 0 | 0 | 35.8819 | 6.6503 | 122.9283 | 8.596 | 0 | 0 | 0 | 0
-6.3916e-15 | -34.78 | -6.0081e-15 | -32.6932 | 78.68 | 50.02 | 115.1691 | 47.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.3726 | 18.3341 | 159.5394 | 22.4218 | 0 | 0 | 0 | 0 | 38.0095 | 14.5905 | 125.3452 | 17.6161 | 0 | 0 | 0 | 0
6.3916e-15 | -34.78 | 58.8783 | -32.6932 | 39.34 | 50.02 | 57.5846 | 47.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.5842 | 30.32 | 161.0464 | 28.046 | 0 | 0 | 0 | 0 | 40.6165 | 24.32 | 126.6528 | 22.496 | 0 | 0 | 0 | 0
6.3916e-15 | -34.78 | 58.8772 | -32.6926 | 3.0641e-15 | 50.02 | 2.8844e-15 | 47.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.134 | 30.32 | 131.9461 | 28.046 | 0 | 0 | 0 | 0 | 27.977 | 24.32 | 105.8354 | 22.496 | 0 | 0 | 0 | 0
30 | -34.78 | 58.8772 | -20.273 | 3.0641e-15 | 50.02 | 2.8844e-15 | 47.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.1384 | 30.32 | 22.7112 | 28.046 | 0 | 0 | 0 | 0 | 11.0833 | 24.32 | 18.2169 | 22.496 | 0 | 0 | 0 | 0
30 | 0 | 58.8772 | -10.3816 | -23.3247 | 50.02 | -21.9569 | 47.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8573e-15 | 30.32 | 1.718e-15 | 28.046 | 0 | 0 | 0 | 0 | 1.4898e-15 | 24.32 | 1.378e-15 | 22.496 | 0 | 0 | 0 | 0
30 | 0 | 58.8772 | 0 | 61.9359 | -14.299 | 127.6579 | -29.4722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8573e-15 | 30.32 | 1.718e-15 | 28.046 | 0 | 0 | 0 | 0 | 1.4898e-15 | 24.32 | 1.378e-15 | 22.496 | 0 | 0 | 0 | 0
17.46 | -12.2256 | 16.0928 | -16.0928 | 61.9359 | -14.299 | 127.6579 | -29.4722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.2501 | 30.32 | -10.2079 | 28.046 | 0 | 0 | No Overreach | 0 | -9.8259 | 24.32 | -8.1879 | 22.496 | 0 | 0 | #VALUE! | 0
17.46 | -12.2256 | 27.7114 | -16.0928 | 68.18 | 0 | 136.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9645 | -7.9697 | 90.2265 | -22.496 | 30.2237 | -14.0935 | 88.8931 | -41.4515 | -4.2557 | 1.0611 | -6.9005 | 1.7205 | 30.2237 | -14.0935 | 88.8931 | -41.4515
17.46 | -12.2256 | 27.7114 | -16.0928 | 79.84 | 26.7 | 143.7705 | 25.0978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9645 | -7.9697 | 114.5972 | -22.496 | 32.0935 | -7.115 | 94.3928 | -20.9264 | -4.2557 | 1.0611 | -8.3205 | 1.7205 | 32.0935 | -7.115 | 94.3928 | -20.9264
17.46 | 0 | 27.7114 | 0 | 91.5 | 53.4 | 151.181 | 50.1956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.1 | 0 | 120.625 | 0 | 34 | 0 | 100 | 0 | -4.54 | 5.5622e-16 | -8.7815 | 1.0759e-15 | 34 | 0 | 100 | 0
17.46 | 17.1202 | 27.7114 | 16.0928 | 103.16 | 80.1 | 158.5914 | 75.2933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8819 | 6.6503 | 122.9283 | 8.596 | 35.7449 | 6.5119 | 102.4005 | 8.9589 | -4.7412 | -0.75093 | -8.9707 | -0.70601 | 35.7449 | 6.5119 | 102.4005 | 8.9589
17.4598 | 17.12 | 27.7114 | 16.0928 | 51.58 | 80.1 | 79.2957 | 75.2933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.0095 | 14.5905 | 125.3452 | 17.6161 | 37.8189 | 14.2525 | 104.959 | 18.5071 | -4.973 | -1.6158 | -9.1707 | -1.4525 | 37.8189 | 14.2525 | 104.959 | 18.5071
1.0487e-15 | 17.12 | 9.858e-16 | 16.0928 | 4.9067e-15 | 80.1 | 4.6123e-15 | 75.2933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.6165 | 24.32 | 126.6528 | 22.496 | 40.5165 | 24.32 | 106.2776 | 23.4283 | -5.0384 | -1.86 | -9.2425 | -1.7205 | 40.5165 | 24.32 | 106.2776 | 23.4283
1.0487e-15 | 17.12 | 9.858e-16 | 16.0928 | -33.2 | 80.1 | 4.6123e-15 | 75.2933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.977 | 24.32 | 105.8354 | 22.496 | 19.9415 | 24.32 | 93.9656 | 23.4283 | -4.6037 | -1.86 | -7.4523 | -1.7205 | 19.9415 | 24.32 | 93.9656 | 23.4283
1.0487e-15 | 17.12 | 9.858e-16 | 16.0928 | -35.2085 | 75.5048 | -35.1099 | 75.2933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.0833 | 24.32 | 18.2169 | 22.496 | 8.696 | 24.32 | 18.3042 | 23.4283 | -1.2546 | -1.86 | -1.3685 | -1.7205 | 8.696 | 24.32 | 18.3042 | 23.4283
-14.3654 | 17.12 | -16.0928 | 16.0928 | -10.3192 | 2.3824 | -15.9593 | 3.6845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4898e-15 | 24.32 | 1.378e-15 | 22.496 | 1.4898e-15 | 24.32 | 1.4352e-15 | 23.4283 | -3.4182e-16 | -1.86 | -3.1618e-16 | -1.7205 | 1.4898e-15 | 24.32 | 1.4352e-15 | 23.4283
32.72 | -22.9108 | 23.2556 | -23.2556 | -10.3192 | 2.3824 | -15.9593 | 3.6845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4898e-15 | 24.32 | 1.378e-15 | 22.496 | -5.3916 | 24.32 | -5.1939 | 23.4283 | -3.4182e-16 | -1.86 | -3.1618e-16 | -1.7205 | -5.3916 | 24.32 | -5.1939 | 23.4283
32.72 | -22.9108 | 45.0222 | -23.2556 | -11.36 | 1.3918e-15 | -17.05 | 2.0889e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8259 | 24.32 | -8.1879 | 22.496 | -11.3406 | 24.32 | -10.9248 | 23.4283 | 0.75149 | -1.86 | 0.62621 | -1.7205 | -11.3406 | 24.32 | -10.9248 | 23.4283
32.72 | -22.9108 | 45.0222 | -23.2556 | -12.4 | -2.38 | -17.7101 | -2.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2557 | 1.0611 | -6.9005 | 1.7205 | 60.6251 | -28.2699 | 88.8931 | -41.4515 | 63.9103 | -15.9346 | 164.4686 | -41.0066 | 60.6251 | -28.2699 | 88.8931 | -41.4515
32.72 | 0 | 45.0215 | 0 | -13.44 | -4.76 | -18.3703 | -4.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2557 | 1.0611 | -8.3205 | 1.7205 | 64.3759 | -14.2718 | 94.3928 | -20.9264 | 63.9103 | -15.9346 | 164.4686 | -41.0066 | 64.3759 | -14.2718 | 94.3928 | -20.9264
32.72 | 24.7397 | 45.0215 | 23.2552 | -14.48 | -7.14 | -19.0304 | -6.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.54 | 5.5622e-16 | -8.7815 | 1.0759e-15 | 68.2 | 0 | 100 | 0 | 68.18 | 0 | 175.4563 | 0 | 68.2 | 0 | 100 | 0
32.7205 | 24.74 | 45.0222 | 23.2556 | -7.24 | -7.14 | -9.5152 | -6.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7412 | -0.75093 | -8.9707 | -0.70601 | 71.5393 | 12.4625 | 104.1716 | 15.5685 | 71.561 | 12.6181 | 180.1031 | 17.342 | 71.5393 | 12.4625 | 104.1716 | 15.5685
1.5155e-15 | 24.74 | 1.4246e-15 | 23.2556 | -1.3121e-15 | -7.14 | -1.2294e-15 | -6.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.973 | -1.6158 | -9.1707 | -1.4525 | 75.4656 | 27.1158 | 108.923 | 33.3011 | 75.5478 | 27.4972 | 185.0969 | 35.9792 | 75.4656 | 27.1158 | 108.923 | 33.3011
1.5155e-15 | 24.74 | 1.4246e-15 | 23.2556 | -1.3121e-15 | -7.14 | -1.2294e-15 | -6.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0384 | -1.86 | -9.2425 | -1.7205 | 80.4721 | 45.8 | 111.8353 | 44.17 | 80.4521 | 45.8 | 186.808 | 42.365 | 80.4721 | 45.8 | 111.8353 | 44.17
1.5155e-15 | 24.74 | 1.4246e-15 | 23.2556 | 3.3294 | -7.14 | 3.1196 | -6.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6037 | -1.86 | -7.4523 | -1.7205 | 38.7534 | 45.8 | 86.6885 | 44.17 | 54.5823 | 45.8 | 158.1083 | 42.365 | 38.7534 | 45.8 | 86.6885 | 44.17
-20.7593 | 24.74 | -23.2556 | 23.2556 | -30.9706 | 7.1501 | -53.1939 | 12.2808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2546 | -1.86 | -1.3685 | -1.7205 | 16.7767 | 45.8 | 27.0674 | 44.17 | 21.3569 | 45.8 | 32.5078 | 42.365 | 16.7767 | 45.8 | 27.0674 | 44.17
-16.36 | 13.7277 | -20.6739 | 14.476 | -30.9706 | 7.1501 | -53.1939 | 12.2808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4182e-16 | -1.86 | -3.1618e-16 | -1.7205 | 2.8056e-15 | 45.8 | 2.7057e-15 | 44.17 | 2.8056e-15 | 45.8 | 2.5952e-15 | 42.365 | 2.8056e-15 | 45.8 | 2.7057e-15 | 44.17
-16.36 | 13.7277 | -27.7112 | 14.476 | -34.09 | 4.1765e-15 | -56.82 | 6.9613e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4182e-16 | -1.86 | -3.1618e-16 | -1.7205 | -10.1536 | 45.8 | -9.7923 | 44.17 | 2.8056e-15 | 45.8 | 2.5952e-15 | 42.365 | -10.1536 | 45.8 | -9.7923 | 44.17
-16.36 | 13.7277 | -27.7112 | 14.476 | -37.2833 | -7.32 | -58.8472 | -6.8656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75149 | -1.86 | 0.62621 | -1.7205 | -21.3569 | 45.8 | -20.5968 | 44.17 | -18.5044 | 45.8 | -15.4196 | 42.365 | -21.3569 | 45.8 | -20.5968 | 44.17
-16.36 | 2.0043e-15 | -27.7114 | 3.3951e-15 | -40.4767 | -14.64 | -60.8743 | -13.7311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.9103 | -15.9346 | 164.4686 | -41.0066 | -11.2873 | 16.12 | 0 | 0 | -21.2972 | 5.31 | -51.3976 | 12.8149 | -11.2873 | 16.12 | 0 | 0
-16.36 | -15.4002 | -27.7114 | -14.4761 | -43.67 | -21.96 | -62.9015 | -20.5967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.9103 | -15.9346 | 164.4686 | -41.0066 | -11.2873 | 16.12 | -40.4464 | 18.8604 | -21.2972 | 5.31 | -51.3976 | 12.8149 | -11.2873 | 16.12 | -40.4464 | 18.8604
-16.3598 | -15.4 | -27.7112 | -14.476 | -21.835 | -21.96 | -31.4507 | -20.5967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.18 | 0 | 175.4563 | 0 | -18.4807 | 16.12 | -42.9487 | 9.5215 | -22.72 | 2.7835e-15 | -54.8313 | 6.7176e-15 | -18.4807 | 16.12 | -42.9487 | 9.5215
-2.8301e-15 | -15.4 | -2.6603e-15 | -14.476 | -4.0356e-15 | -21.96 | -3.7851e-15 | -20.5967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71.561 | 12.6181 | 180.1031 | 17.342 | -22.8 | 2.7933e-15 | -45.5 | 5.5744e-15 | -26.2233 | -13.0744 | -59.7239 | -18.2594 | -22.8 | 2.7933e-15 | -45.5 | 5.5744e-15
-2.8301e-15 | -15.4 | -2.6603e-15 | -14.476 | -4.0356e-15 | -21.96 | -3.7851e-15 | -20.5967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.5478 | 27.4972 | 185.0969 | 35.9792 | -24.3581 | -5.8151 | -48 | -9.3303 | -35.2565 | -46.787 | -66.9273 | -45.1431 | -24.3581 | -5.8151 | -48 | -9.3303
-2.8301e-15 | -15.4 | -2.6603e-15 | -14.476 | 10.2401 | -21.96 | 9.6044 | -20.5967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.4521 | 45.8 | 186.808 | 42.365 | -26.3788 | -13.3561 | -51.0238 | -20.6149 | -37.0767 | -53.58 | -68.1113 | -49.5615 | -26.3788 | -13.3561 | -51.0238 | -20.6149
15.4 | -15.4 | 10.1362 | -14.476 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 54.5823 | 45.8 | 158.1083 | 42.365 | -29.4987 | -25 | -51.695 | -23.12 | -34.7953 | -53.58 | -63.4358 | -49.5615 | -29.4987 | -25 | -51.695 | -23.12
24 | -16.805 | 21.9584 | -21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 21.3569 | 45.8 | 32.5078 | 42.365 | -16.3259 | -25 | -47.403 | -23.12 | -15.8711 | -53.58 | -24.1728 | -49.5615 | -16.3259 | -25 | -47.403 | -23.12
24 | -16.805 | 38.1006 | -21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 2.8056e-15 | 45.8 | 2.5952e-15 | 42.365 | -7.44 | -25 | -14.447 | -23.12 | -9.8465e-15 | -53.58 | -9.108e-15 | -49.5615 | -7.44 | -25 | -14.447 | -23.12
24 | -16.805 | 38.1006 | -21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 2.8056e-15 | 45.8 | 2.5952e-15 | 42.365 | -4.5943e-15 | -25 | -4.2488e-15 | -23.12 | 8.3633 | -53.58 | -9.108e-15 | -49.5615 | -4.5943e-15 | -25 | -4.2488e-15 | -23.12
24 | 0 | 38.1 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -18.5044 | 45.8 | -15.4196 | 42.365 | 13.0142 | -25 | 12.0355 | -23.12 | 13.6604 | -33.8108 | 18.0389 | -49.5615 | 13.0142 | -25 | 12.0355 | -23.12
24 | 23.3602 | 38.1 | 21.9581 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -21.2972 | 5.31 | -51.3976 | 12.8149 | 35.7037 | -25 | 33.0188 | -23.12 |  |  |  |  | 35.7037 | -25 | 33.0188 | -23.12
23.9998 | 23.36 | 38.1006 | 21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -21.2972 | 5.31 | -51.3976 | 12.8149 | 35.7037 | -25 | 33.0188 | -23.12 |  |  |  |  | 35.7037 | -25 | 33.0188 | -23.12
1.431e-15 | 23.36 | 1.3451e-15 | 21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -22.72 | 2.7835e-15 | -54.8313 | 6.7176e-15 | -11.2873 | 16.12 | -40.4464 | 18.8604 |  |  |  |  | -11.2873 | 16.12 | -40.4464 | 18.8604
1.431e-15 | 23.36 | 1.3451e-15 | 21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -26.2233 | -13.0744 | -59.7239 | -18.2594 | -11.2873 | 16.12 | -42.9487 | 9.5215 |  |  |  |  | -11.2873 | 16.12 | -42.9487 | 9.5215
1.431e-15 | 23.36 | 1.3451e-15 | 21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -35.2565 | -46.787 | -66.9273 | -45.1431 | -18.4807 | 16.12 | -45.5 | 5.5744e-15 |  |  |  |  | -18.4807 | 16.12 | -45.5 | 5.5744e-15
-19.6014 | 23.36 | -21.9584 | 21.9584 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | -37.0767 | -53.58 | -68.1113 | -49.5615 | -22.8 | 2.7933e-15 | -50.1246 | -17.2593 |  |  |  |  | -22.8 | 2.7933e-15 | -50.1246 | -17.2593
[16 empty] | -34.7953 | -53.58 | -63.4358 | -49.5615 | -25.034 | -8.3373 | -57.5472 | -44.9608 |  |  |  |  | -25.034 | -8.3373 | -57.5472 | -44.9608
[16 empty] | -15.8711 | -53.58 | -24.1728 | -49.5615 | -28.5264 | -21.3713 | -58.4205 | -48.22 |  |  |  |  | -28.5264 | -21.3713 | -58.4205 | -48.22
[16 empty] | -9.8465e-15 | -53.58 | -9.108e-15 | -49.5615 | -37.1567 | -53.58 | -53.5537 | -48.22 |  |  |  |  | -37.1567 | -53.58 | -53.5537 | -48.22
[16 empty] | 8.3633 | -53.58 | -9.108e-15 | -49.5615 | -22.9206 | -53.58 | -21.4689 | -48.22 |  |  |  |  | -22.9206 | -53.58 | -21.4689 | -48.22
[16 empty] | 13.6604 | -33.8108 | 18.0389 | -49.5615 | -10.9791 | -53.58 | -8.8615e-15 | -48.22 |  |  |  |  | -10.9791 | -53.58 | -8.8615e-15 | -48.22
[20 empty] | -9.8465e-15 | -53.58 | 25.1017 | -48.22 |  |  |  |  | -9.8465e-15 | -53.58 | 25.1017 | -48.22
[20 empty] | 22.2387 | -53.58 | 68.8653 | -48.22 |  |  |  |  | 22.2387 | -53.58 | 68.8653 | -48.22
|  |  |  | R1Z | 0
Phase Faults |  | Earth Faults |  | Phase Faults |  | Earth Faults
R | X | R | X | R | X | R | X
3.2 | 0 | 6.08 | 0 | 0 | 0 | 0 | 0
3.007 | 1.0945 | 5.7133 | 2.0795 | 0 | 0 | 0 | 0
2.4513 | 2.0569 | 4.6576 | 3.9081 | 0 | 0 | 0 | 0
1.6 | 2.7713 | 3.04 | 5.2654 | 0 | 0 | 0 | 0
0.55567 | 3.1514 | 1.0558 | 5.9876 | 0 | 0 | 0 | 0
-0.55567 | 3.1514 | -1.0558 | 5.9876 | 0 | 0 | 0 | 0
-1.6 | 2.7713 | -3.04 | 5.2654 | 0 | 0 | 0 | 0
-2.4513 | 2.0569 | -4.6576 | 3.9081 | 0 | 0 | 0 | 0
-3.007 | 1.0945 | -5.7133 | 2.0795 | 0 | 0 | 0 | 0
-3.2 | 3.9205e-16 | -6.08 | 7.4489e-16 | 0 | 0 | 0 | 0
-3.007 | -1.0945 | -5.7133 | -2.0795 | 0 | 0 | 0 | 0
-2.4513 | -2.0569 | -4.6576 | -3.9081 | 0 | 0 | 0 | 0
-1.6 | -2.7713 | -3.04 | -5.2654 | 0 | 0 | 0 | 0
-0.55567 | -3.1514 | -1.0558 | -5.9876 | 0 | 0 | 0 | 0
0.55567 | -3.1514 | 1.0558 | -5.9876 | 0 | 0 | 0 | 0
1.6 | -2.7713 | 3.04 | -5.2654 | 0 | 0 | 0 | 0
2.4513 | -2.0569 | 4.6576 | -3.9081 | 0 | 0 | 0 | 0
3.007 | -1.0945 | 5.7133 | -2.0795 | 0 | 0 | 0 | 0
3.2 | -7.841e-16 | 6.08 | -1.4898e-15 | 0 | 0 | 0 | 0
6.3 | 0 | 11.97 | 0 | 0 | 0 | 0 | 0
5.9201 | 2.1547 | 11.2481 | 4.094 | 0 | 0 | 0 | 0
4.8261 | 4.0496 | 9.1696 | 7.6942 | 0 | 0 | 0 | 0
3.15 | 5.456 | 5.985 | 10.3663 | 0 | 0 | 0 | 0
1.094 | 6.2043 | 2.0786 | 11.7881 | 0 | 0 | 0 | 0
-1.094 | 6.2043 | -2.0786 | 11.7881 | 0 | 0 | 0 | 0
-3.15 | 5.456 | -5.985 | 10.3663 | 0 | 0 | 0 | 0
-4.8261 | 4.0496 | -9.1696 | 7.6942 | 0 | 0 | 0 | 0
-5.9201 | 2.1547 | -11.2481 | 4.094 | 0 | 0 | 0 | 0
-6.3 | 7.7184e-16 | -11.97 | 1.4665e-15 | 0 | 0 | 0 | 0
-5.9201 | -2.1547 | -11.2481 | -4.094 | 0 | 0 | 0 | 0
-4.8261 | -4.0496 | -9.1696 | -7.6942 | 0 | 0 | 0 | 0
-3.15 | -5.456 | -5.985 | -10.3663 | 0 | 0 | 0 | 0
-1.094 | -6.2043 | -2.0786 | -11.7881 | 0 | 0 | 0 | 0
1.094 | -6.2043 | 2.0786 | -11.7881 | 0 | 0 | 0 | 0
3.15 | -5.456 | 5.985 | -10.3663 | 0 | 0 | 0 | 0
4.8261 | -4.0496 | 9.1696 | -7.6942 | 0 | 0 | 0 | 0
5.9201 | -2.1547 | 11.2481 | -4.094 | 0 | 0 | 0 | 0
6.3 | -1.5437e-15 | 11.97 | -2.933e-15 | 0 | 0 | 0 | 0
12.5 | 0 | 23.75 | 0 | 0 | 0 | 0 | 0
11.7462 | 4.2753 | 22.3177 | 8.123 | 0 | 0 | 0 | 0
9.5756 | 8.0348 | 18.1936 | 15.2662 | 0 | 0 | 0 | 0
6.25 | 10.8253 | 11.875 | 20.5681 | 0 | 0 | 0 | 0
2.1706 | 12.3101 | 4.1241 | 23.3892 | 0 | 0 | 0 | 0
-2.1706 | 12.3101 | -4.1241 | 23.3892 | 0 | 0 | 0 | 0
-6.25 | 10.8253 | -11.875 | 20.5681 | 0 | 0 | 0 | 0
-9.5756 | 8.0348 | -18.1936 | 15.2662 | 0 | 0 | 0 | 0
-11.7462 | 4.2753 | -22.3177 | 8.123 | 0 | 0 | 0 | 0
-12.5 | 1.5314e-15 | -23.75 | 2.9097e-15 | 0 | 0 | 0 | 0
-11.7462 | -4.2753 | -22.3177 | -8.123 | 0 | 0 | 0 | 0
-9.5756 | -8.0348 | -18.1936 | -15.2662 | 0 | 0 | 0 | 0
-6.25 | -10.8253 | -11.875 | -20.5681 | 0 | 0 | 0 | 0
-2.1706 | -12.3101 | -4.1241 | -23.3892 | 0 | 0 | 0 | 0
2.1706 | -12.3101 | 4.1241 | -23.3892 | 0 | 0 | 0 | 0
6.25 | -10.8253 | 11.875 | -20.5681 | 0 | 0 | 0 | 0
9.5756 | -8.0348 | 18.1936 | -15.2662 | 0 | 0 | 0 | 0
11.7462 | -4.2753 | 22.3177 | -8.123 | 0 | 0 | 0 | 0
12.5 | -3.0629e-15 | 23.75 | -5.8195e-15 | 0 | 0 | 0 | 0
3.4 | 0 | 6.46 | 0 | 0 | 0 | 0 | 0
3.195 | 1.1629 | 6.0704 | 2.2095 | 0 | 0 | 0 | 0
2.6046 | 2.1855 | 4.9486 | 4.1524 | 0 | 0 | 0 | 0
1.7 | 2.9445 | 3.23 | 5.5945 | 0 | 0 | 0 | 0
0.5904 | 3.3483 | 1.1218 | 6.3619 | 0 | 0 | 0 | 0
-0.5904 | 3.3483 | -1.1218 | 6.3619 | 0 | 0 | 0 | 0
-1.7 | 2.9445 | -3.23 | 5.5945 | 0 | 0 | 0 | 0
-2.6046 | 2.1855 | -4.9486 | 4.1524 | 0 | 0 | 0 | 0
-3.195 | 1.1629 | -6.0704 | 2.2095 | 0 | 0 | 0 | 0
-3.4 | 4.1655e-16 | -6.46 | 7.9145e-16 | 0 | 0 | 0 | 0
-3.195 | -1.1629 | -6.0704 | -2.2095 | 0 | 0 | 0 | 0
-2.6046 | -2.1855 | -4.9486 | -4.1524 | 0 | 0 | 0 | 0
-1.7 | -2.9445 | -3.23 | -5.5945 | 0 | 0 | 0 | 0
-0.5904 | -3.3483 | -1.1218 | -6.3619 | 0 | 0 | 0 | 0
0.5904 | -3.3483 | 1.1218 | -6.3619 | 0 | 0 | 0 | 0
1.7 | -2.9445 | 3.23 | -5.5945 | 0 | 0 | 0 | 0
2.6046 | -2.1855 | 4.9486 | -4.1524 | 0 | 0 | 0 | 0
3.195 | -1.1629 | 6.0704 | -2.2095 | 0 | 0 | 0 | 0
3.4 | -8.331e-16 | 6.46 | -1.5829e-15 | 0 | 0 | 0 | 0